Bid Amendment/Vendor Questions

26-532EPA-LAB53-B-52729

Argon, Helium and Nitrogen gases

Q1	Can you provide more detail regarding the argon liquid tank? Is that a liquid argon cylinder being exchanged or is it a larger tank being filled by a bulk truck?

A1	We have a tank, we will just need it refilled.

Q2	Is this a request for a N2 Generator? The were two other gases and it was mixed use for laboratory and medical. Medical I can’t do but laboratory I can.

A2	No to a N2 Generator. Gases needed for the lab on floor and in tank room are:

Helium, Ultra High Purity(99.99% purity) T size

Nitrogen, Ultra High Purity(99.99% purity) T size

Air Breathing, T size

Q3	Will we be supplying the tanks or are they existing?

A3	We have a tank, we will just need it refilled.

Q4	When will the contract start?

A4	upon execution of the contract