Intraoral x-ray equipment required:

- Two Midmark Preva 2.0 Intraoral X-rays w/ 76” reach

- Four Schick 33 3.0 Size 2 Digital Sensors with 9ft Cables

- Two Schick USB 3 interfaces

- Two Handswitches with 25-foot cable

- Onsite installation